Quenching Auto-fluorescence with Cupric Sulfate Buffer

Materials:

- Cupric Sulfate, certified A.C.S. grade (Fisher Scientific, C493-500)

- Ammonium Acetate, crystalline HPLC grade (Fisher Scientific, A639-500)

- Sterile MilliQ water

- pH Meter

- 1N HCl for adjusting pH

- Sterile 1L storage bottle (such as Corning 430518, sterile polystyrene with plug seal cap)

Procedure:

- In a sterilized 1L storage bottle, add the following:

  - 3.85g Ammonium Acetate

  - 0.07g Cupric Sulfate

  - 900mL Sterile MilliQ water

- Adjust pH to 5.0 with 1N HCl

- Add sterile MilliQ water to make 1L total volume

- Store at room temperature

- To use in immunohistochemistry to quench autofluorescence:

  - Following ALL staining procedures (unless mounting media contains DAPI), apply cupric sulfate buffer to tissue (either in wholemount or on slides) for 10 minutes at room temperature

  - Stop quenching reaction by rinsing with sterile water

  - Discard Cupric Sulfate after use – not suitable for reuse once it’s been applied to tissue.