# Fluorescent Immunocytochemistry Protocol on Frozen sections

- Prepare cryostat section at 5-7 mm (for In situ, may 10 mm)

- Fix with 4% paraformaldehyde (diluted 16% paraformaldehyde at 1:4 in PBS), 10 min, room temperature

- Wash with PBS/Triton, 5 min X 3

- Block with Blocking buffer (500 ml normal goat serum to 10 ml PBS + 10 ml Triton, serum match to species the second antibody from), 1 hr, room temperature

- Wash with PBS, 5 min X 1

- Primary antibody diluted in 3% BSA (300mg in 10 ml PBS), overnight, at 4 °C

- Wash with PBS, 5 min X 3

- Incubate with biotinylated secondary antibody, 1:500 dilution (pay attention to different species, against primary), 1 hr, room temperature

- Wash with PBS, 5 min X 3

- Mount coverslips with VectaMount

- Visualization using microscope

- Analysis using Confocal Software