Library construction protocol for nanogram amounts of total RNA for RNAseq – HIGH VOLUME

Jain Group Protocols, GUDMAP Consortium

1) 3ng, 10ng or 30ng total RNA (in 9µl) was reverse transcribed and amplified using the SMARTer® Ultra™ Low Input RNA for Illumina® Sequencing - HV (Clontech Laboratories, cat# 634828) according to the manufacturer’s instructions.

2) The cDNA was sheared for 3 minutes with the Covaris ultra-sonicator.

3) The libraries were prepared using VeraSeq™ ULtra DNA Polymerase (Enzymatics, cat# P7520L) for 12 cycles.  PCR conditions were 98°C for 30s; 12 cycles of 98°Cfor 10s, 64°C for 30s, 72°C for 30s; 72°C for 5 min and then hold at 4°C.  The forward primer used was: AATGATACGGCGACCACCGAGATCTACACTCTTTCCCTACACGACGCTCTTCCGATCT

The reverse primer with the indexes used were:

| Reverse Primer | Reverse Complement | Reported index & Sample Name |
| --- | --- | --- |
| 64, CAAGCAGAAGACGGCATACGAGATGTAATCAGTGACTGGAGTTCAGACGTGTGCTCTTCCGA | TGATTAC | TGATTAC-30ng_High-Volume |
| 65, CAAGCAGAAGACGGCATACGAGATCCCAGCAGTGACTGGAGTTCAGACGTGTGCTCTTCCGA | TGCTGGG | TGCTGGG-10ng_High-Volume |
| 66, CAAGCAGAAGACGGCATACGAGATCTGTGTCGTGACTGGAGTTCAGACGTGTGCTCTTCCGA | GACACAG | GACACAG-3ng_High-Volume |

4) The purified DNA yield was16.5ng/μl in 30μl and sequencing was done on the Illumina HiSeq2500 following the manufacturer's protocols.