Riboprobe synthesis from a plasmid template

Mendelsohn Group, GUDMAP Consortium

Plasmid Preparation

Clone/vector

cDNA is replicated in E. coli strains transformed with a recombinant plasmid and the cells are lysed to isolate the plasmid containing the cDNA sequence of interest.  Each recombinant plasmid has a specific selectable marker, such as antibiotic resistance.  All cultures that are described below are grown in Luria Broth (LB) media to which is added a specific antibiotic to select for those bacteria containing the recombinant plasmid.

Most plasmids were purchased through Open Biosystems and are I.M.A.G.E clones.

Plating out a glycerol stock

- Streak a glycerol stock of a strain containing the recombinant plasmid onto a dropout LB agar plate using a sterile pipette tip.

- Ensure the plates contain the appropriate concentration of antibiotic to select for the bacteria containing the recombinant plasmid.

| Antibiotic | Final concentration |
| --- | --- |
| Ampicillin | 50μg/ml |
| Kanamycin | 10μg/ml |
| Chloramphenicol | 25μg/ml |

- Grow overnight (approximately 16 hours) at 37°C.

Mini culture

- Isolate a single white colony using a sterile pipette tip and transfer it in to 5ml of LB media containing the appropriate concentration of antibiotic.

- Incubate in an orbital shaker at 37°C for approximately 6 hours.

Midi Culture

- Following incubation the culture should be slightly cloudy and drifts of E. coli should be seen when shaken.

- Add 500μl of this culture to seed a 50ml LB culture with the appropriate concentration of antibiotic.  Incubate in an orbital shaker overnight at 37°C.

Midi plasmid preparation

- Pour the bacterial culture into a 50ml centrifuge tube.

- Pellet the bacteria by centrifugation for 15 minutes. Centrifuge: Eppendorf Centrifuge 5810R at 3,500rpm.

- Discard the supernatant.

- The plasmid is isolated using the QIAGEN Plasmid Midi Kit (Qiagen #12143) according to the manufacturer’s instructions.

- The plasmid DNA is eluted with 100-200μl of TE buffer (pH8).

- The plasmid concentration is determined using a NanoDrop 2000c.

  - The machine is first calibrated with 2μl of H2O.

  - 2μl of the purified plasmid is run on the machine and the DNA concentration recorded.

- A small aliquot of plasmid DNA is run on a 1% gel for qualitative analysis.

- All plasmid cDNA is stored at -20°C.

Linearization of the plasmid template

- The plasmid is linearized with the appropriate restriction enzyme determined from the vector map.

- For linearization, a 500μl mix is made as follows:

| Reagent | Amount |
| --- | --- |
| Plasmid | 20μg |
| Buffer | 50μl (1/10th final volume) |
| Restriction enzyme | 2μl (20-40U/μl) |
| H2O | make up to a 500μl volume |

- Restriction enzymes are purchased from New England BioLabs, and the appropriate buffer for each enzyme is listed on the product and the manufacturer’s website.

- Vortex and briefly centrifuge to collect the digestion mix to the bottom of the microfuge tube.

- Incubate overnight at the optimal temperature for the restriction enzyme being used, usually 37°C.

Precipitation of DNA

- Vortex and briefly centrifuge.

- Add the following to the linearized plasmid:

1μl glycogen

1/10th volume of 3M NaOAc

2X volume of cold 100% ethanol

- Invert tube several times to mix.

- Incubate at -80°C for at least 15 minutes.  The incubation can be left overnight.

- Centrifuge at 13k rpm for 15 minutes at 4°C. (Centrifuge: Eppendorf Centrifuge 5417C)

- Carefully discard the supernatant and wash pellet with 400μl cold 70% ethanol.

- Centrifuge at 13k rpm for 10 minutes at 4°C.

- Carefully discard the supernatant and dry the pellet at room temperature or at 37°C.  Do not over-dry the pellet.

- Dissolve the DNA pellet in H2O at a concentration of about 1mg/ml.

- Incubate at 37°C for at least 15 minutes to allow the DNA to dissolve.

Quantification of DNA

Run ~100-200ng linearized cDNA alongside a 1Kb Plus DNA Ladder & Low DNA Mass Ladder (Invitrogen #10787-018 & #10068-013) to verify the concentration.

In-vitro transcription of Digoxigenin-labeled riboprobes

Ensure RNase-free conditions are maintained and that reagents are kept on ice.  In-vitro transcription & digoxigenin labeling are carried out using the Roche DIG RNA Labeling Mix (Roche #11 277 073 910).  The manufacturer’s instructions are followed and are described briefly below.

- Mix together the following reagents to make a total volume of 20μl:

| Reagent | Volume |
| --- | --- |
| 1ug linearized plasmid DNA | xμl |
| DIG RNA labeling mix, 10X | 2μl |
| Transcription buffer, 10X | 2μl |
| Sterile RNase free double distilled water | make up to a final volume of 18μl |
| RNA polymerase, T7, Sp6, or T3 (20U/μl) | 2μl |

- Vortex and centrifuge briefly.

- Incubate for 2 hours at 37°C.

- Take a 2μl aliquot of the reaction mix to run on 1% agarose gel to compare the quality of this RNA to the RNA following clean up procedures.  Store at -20°C.

- Optional: Add 2μl of DNase I, RNase-free (10,000U stock / Roche #10 776 785 001) and incubate at 37°C for 15 minutes.

- Add 2μl of 0.2M EDTA (pH 8.0) to stop the reaction.

- Use Illustra ProbeQuant G50 micro columns (GE Healthcare Life Sciences #28-9034-08) to clean the probe by following the manufacturer’s instructions.

- Take a 2μl sample to run on a 1% agarose gel to verify the clean band.

- Add 50μl of hybridization buffer as described in the in-situ hybridization protocol.

- Store probes at -20°C.

Quantification of Riboprobe

A 1% agarose gel can be run with the two samples collected against a 1Kb Plus DNA Ladder & Low DNA Mass Ladder (Invitrogen #10787-018 & #10068-013) to approximate the probe concentration after cleaning.

Alternatively, the 2μl RNA taken after cleaning (before addition of hybridization buffer) can be run on a NanoDrop 2000c.

Media & Solutions

Luria Broth (LB)/ 1L

Tryptone                       10 g

Yeast Extract                   5 g

NaCl                             10 g

Dissolve components in 1L of distilled water.

For LB agar - Add agar to a final concentration of 1.5%.

Sterilize by autoclaving at 15 psi, from 121-124°C for 15 minutes.

TE Buffer pH 8.0

10mM Tris pH 8.0

1mM EDTA