# Two-color FISH Protocol

Steps 1 - 13 are based on Andy McMahon's “Double Fluorescent Section in situ hybridization”. Steps 14 - 38 are based on the Gaido lab's bench “TSA Fluorescent Section in situ hybridization” method.

Updated Sept. 2008.

Author:  Janan Hensley

Probes were labeled based on the protocol found on the GUDMAP website (GAIDO lab).

Tissue fixation method based on the McMahon lab protocol located on the GUDMAP website.  (PFA to sucrose, frozen sections cut then air dried).  10µm slides air dried for 30 minutes before freezing at -80C.

# Hybridization - DAY 1

Note:  Throughout the procedure, try to remove as much previous solution as possible before going into a new solution; however, DO NOT let the tissue completely dry out.

1.  Air dry previously frozen slides under an air-flow hood for 15 minutes.

(Step 1 has been optimized by the Gaido lab.)

2.  Fix sections in 4% PFA/PBS for 10 min.  Do not discard, save for step 6.

3.  Rinse in DEPC PBS, 3 x 5 min each.

4.  Treat with 10µg/ml of Proteinase K in PBS for 10 min.
Be careful as to the strength of the PK as it varies from lot to lot – this timing/concentration should be adjusted every time a new stock is made.
5.  Rinse quickly in DEPC PBS.

6.  Fix in 4% PFA/PBS for 5 min.

7.  Rinse in DEPC PBS, 3x 5 in each.

8.  De-acetylation:

In a glass histology jar on a stirrer combine:

| DEPC H2O | 200ml |
| --- | --- |
| Triethanolamine | 2.66ml |
| 37% HCl | 0.35ml |
| Begin stirring and add: |  |
| *Acetic anhydride | 0.75ml |
| Place rack of slides in jar while stirring, stir for 10 min. |  |
| *Add 375ul of acetic anhydride, wait 5 min, then add the second 375ul. |  |
| Acetic anhydride is only good for 5 minutes, adding another aliquot is necessary. |  |

9.  Rinse in DEPC PBS, 2x 3 min each.

10. Rinse with 0.85% NaCl for 3 min.

11.  Wash with 70%EtOH/0.85%NaCl for 5 min.

12. Wash with 95% EtOH for 5 min.

13.  Air dry for 10 min.

14.  Hybridization:

Dilute probes with hyb buffer such that the probe concentration is between 300ng/ml to 500ng/ml.

Heat the diluted probe to 80ºC for 30 seconds, then heat to 65ºC for 10 min, cool to room temp.

Arrange slides horizontally in a humidified chamber (PBS), remove excess solution, apply ~150µl of hybridization buffer with probe to each slide, and apply parafilm.

Incubate at 55º - 58º C O/N.

Note: typically use 300ng/ml for strong probes, 400ng/ml for medium probes and 500ng/ml for weak probes.

15. Hyb - added 150µl of probe to each slide, cover with parafilm, incubated O/N at 55ºC.  (Make humidified chamber for o/n incubation with PBS.)

# DAY 2

NOTE:  keep reagents at 55 - 58ºC during incubation.

16.  5x SSC - 55ºC - 25 min

17.  Formamide I - 55ºC - 50 min

18.  Formamide II - 55ºC - 1 hour

19.  0.1x SSC - 55ºC - 25 min

20.  TN wash 3x 5 min each, RT with agitation

21.  1% H2O2 in TN - 20 min (no Tween)

22.  TN wash 3x 5 min each, RT with agitation

23.  Block (PE) in TNB - RT - 30 min

24. ** αDig POD or anti-DNP HRP (1:500) - RT - 1 hour

25.  TNT wash - 3x - 5 min each - RT with agitation

26. ** Apply ~100µl TSA Cy3 or TSA fluorescein (1:50) - 15 min incubation (use humidified chamber (PBS))

27.  TNT wash 3x 5 min each - RT with agitation

28.  TN wash 3x 5 min each, RT with agitation (gets rid of Tween)

29.  1% H2O2 in TN - 30 min (no Tween) - optimized by the Gaido lab

30.  TN wash 3x 5 min each, RT with agitation

31.  Wash with TNT, 1x 1 min (just enough to add back some Tween)

32.  ** αDig POD or anti-DNP HRP (1:500) - RT - 1 hour (use humidified chamber (PBS))

33.  TNT wash 3x 5 min each - RT with agitation

34.  ** TSA-Cy3 (1:50) or TSA-Fluorescein (1:50) - 15 min incubation (use humidified chamber (PBS))

35.  TNT wash 3x 5 min each - RT with agitation

36.  H2O rinse

37.  Coverslip once dry & use VectaShield Mounting media for flourescence with Dapi (Vector Laboratories, Cat# H-1200, 10ml)

# Reagents

Volumes can be adjusted for the type of container used.

4% PFA/PBS

Proteinase K (10ug/ml) in PBS

De-Acetylation:

| DEPC H2O | 200ml |
| --- | --- |
| Triethanolamine | 2.66ml |
| 37% HCl | 0.35ml |
| on a stirrer add: |  |
| *Acetic anhydride | 0.75ml |
| After 5 min add another acetic anhy. |  |
| *Acetic anhydride is only good for 5 minutes, add another 0.375ml after 5 minutes. |  |

0.85% NaCl (in DEPC H2O)

70% EtOH/0.85% NaCl (in DEPC H2O)

95% EtOH (in DEPC H2O)

Hybridization buffer

Ambion hybridization buffer - use 1ml per probe

heat to 65ºC for 10 minutes, cool to RT

15µl 100mg/ml DTT

15µl 10mg/ml tRNA

5X SSC        	preheat to 65ºC for 10 minutes before use.

37.25ml        	DEPC H2O

12.5ml        	20x SSC

250µl        	10% Tween 20

50ml        	Total volume

0.1x SSC        	preheat to 65ºC for 10 minutes before use.

49.5ml        	DEPC H2O

250µl        	20x SSC

250µl        	10% Tween 20

50ml        	Total volume

Formamide I        	preheat to 65ºC for 10 minutes before use.

14ml        	DEPC H2O

3.5ml        	20X SSC

175µl        	10% Tween 20

17.5ml        	formamide

35ml        	Total volume

Formamide II  preheat to 65ºC for 10 minutes before use.

15.75ml       DEPC H2O

1.75ml         20X SSC

175µl          10% Tween 20

17.5ml        formamide

35ml           Total volume

TNB        	preheat to 65ºC for 10 minutes before use.

5ml          	10X TN

250µl       	10% Tween 20

45ml        	DEPC H2O

0.25g       	blocking reagent*

50ml        	Total volume

*Add blocking reagent to solution then heat so that it goes into solution.

1x TN

250ml          	10x TN

2250ml        	DEPC H2O

2500ml        	Total volume

1% H2O2 (x2)

Make 2 different solutions to accommodate the 2 steps.

500µl        	H2O2        	Do not reuse the same 1% H2O2 for the second step.

50ml             1x TN

50.5ml      	Total volume

Anti-digoxigenin-POD        	1:500 in TNB

Anti-DNP HRP        	1:500 in TNB

1X TNT

125ml          	10x TN

6.25ml         	10% Tween 20

1118.75ml       DEPC H2O

1250ml        	Total volume

Tyramide-Cy3 (1:50)

- followed instructions in kit for diluting, incubated for 15 minutes.

Tyramide-Fluorescein (1:50)        	followed instructions in kit for diluting, incubated for 15 minutes.

10x TN

For 1L add the following:

Tris 121.5g

NaCl 87.95g

Add ultra pure water up to a volume of 800ml and stir until solid components dissolve. Adjust pH to 7.5 and add more ultra pure water up to a final volume up to 1L.

Store at RT.

10% Tween 20 - dilute Tween 20 to 10% with DEPC H2O

** The label of the strongest probe should be added first.  Example:  the strongest probe is labeled with DIG, the Anti-Dig-POD (step 24) should be added first then TSA-Cy3 (step 26).  The medium or weak probe labeled with DNP, the anti-DNP-HRP should be added second (step 32) followed by TSA-fluorescein (step 34). If the strongest probe was labeled with DNP then add the anti-DNP first followed by TSA-Fluorescein then add the anti-dig for step 32 and TSA-Cy3 for step 34. Optimized by the Gaido lab.

# Materials list

| Chemical | Company | Catalog # |
| --- | --- | --- |
| DEPC | Sigma | D5758 |
| Triethanolamine | Sigma | 90279 |
| 37% HCl | Sigma | 258148 |
| Acetic Anhydride | Sigma | A6404 |
| PF | EMS (Electron Microscopy Sciences) | 19208 |
| PK | Roche | 3115836001 |
| 5M NaCl | Ambion (ABI) | AM9759 |
| PBS | Sigma | P3813-10Pak |
| Ethanol | Sigma | E7023 |
| Hybridization buffer | Ambion (ABI) | B8807G |
| DTT | Sigma | 43815 |
| yeast tRNA | Ambion (ABI) | AM7119 |
| 20x SSC | Ambion (ABI) | AM9763 |
| Tween 20 | Sigma | P1379 |
| Formamide | ISC Bioexpress | 606 |
| Blocking reagent | Perkin Elmer | FB1012 |
| anti-DIG POD | Roche | 11207733910 |
| anti-DNP HRP* | Perkin Elmer | NEL747A001KT |
| TSA-Cy3 | Perkin Elmer | NEL744B001KT |
| TSA-fluorescein | Perkin Elmer | NEL741001KT |
| Tris | Sigma | T1503 |
| NaCl | Sigma | S3014 |
| Superfrost Plus Slides | Fisher | 12-550-15 |
| H2O2 | Sigma | 216763 |
| DMSO | Sigma | D8418 |
| Filter Paper (Whatman) | Sigma | Z240109 |
| Parafilm | Sigma | P7543 |
| Coverslips | Corning | 12531C (2935-224) |
| Dapi mounting media | Vector Labs, Inc | H-1200 |

*TSA plus DNP (HRP) System kit (only need the anti-DNP HRP conjugate from kit but have to buy whole kit.)